## Project Responsibilities
Delineation of Responsibilities - SHORT FORM
rev 10.07 |  | DATE | Insert Date here
| PROJECT NAME |  |  | Name | Insert Sales Rep Name Here
| Insert Project Name Here |  |  | Branch | Select a Branch
| PROJECT DESCRIPTION |  |  | Address
Insert Project Desc. Here
| LOCATION |  |  | Phone
| Insert Location Here |  |  | Fax
RESPONSIBILITY
| ITEM | Satellite | Customer | N I C * | NOTES
Section 1, Design & Engineering
A. | Site inspection. | x
B. | Provide suggested pier or foundation plan with anchoring locations, blocking points & KIP loads for flush-to-grade piers, or dry-block set. | x |  |  | Above grade dry stack, block, level and anchor
C. | Provide engineered foundation drawing including building anchoring system. | x
D. | A/E fees & soil reports for engineered foundation |  |  | x
E. | Provide modular building drawings for approval by owner or owner's representative. | x
F. | Provide drawings detailing stub-down locations for sewer, water, & electrical. | x
Local code compliance, fire alarm and sprinkler systems, site plans,
testing services, planning & zoning submissions, surveys & stakes out of
site are by Customer.
Section 2, Contractual
A. | Payment/Performance Bond |  |  | x
B. | Insurance: Liability and Workmen's Compensation | x
C. | Insurance: Property and Builder's Risk |  | X
D. | Taxes: Sales, Use, Excise or Personal Property |  | X
E. | Wages: Non-prevailing, non-union |  |  | x
Lease/rental contracts on Satellite paper. Other contracts shall have mutual
agreeable terms and conditions; all quotes subject to verification of credit
Section 3, Permits, Fees, & Inspections
A. | Bldg. module transportation permits & fees. | x
B. | Bldg. permit application & inspections |  | x
C. | Bldg. permit fee. |  | x
All tap and impact fees, zoning approvals and any other permit or
or use fees and inspections (elec/mechanical/gas) are by Customer
Section 4, Site Preparation
A. | Install flush-to-grade piers for dry blocking | x
B. | Install engineered, mortared foundation & blocks |  |  | x
C. | Install step & ramp foundation per plans | x |  |  | No foundation plans provided. Satellite plans
D. | Install footings or foundations |  |  | x | School board said no below grade footings
E. | Sure-Wall piers |  |  | x
F. | Spread foundation spoils on site |  |  | x
G. | Remove soils from site |  | x
H. | Site clearing |  | x
Site shall be level (to within 1' in 70'), truck accessible, with a minimum soil bearing of
2,000 PSF clear of obstructions above and below ground. Satellite is not responsible
for settling due to improper foundations, inadequate soil bearing, poor site drainage.
Pricing is based on normal soils. Adequate secure staging area by Customer.
Section 5, Installation
A. | Receive & sign for modules; inspect for damage |  | x
B. | Position module units over flush to grade piers with truck (Dry stack block set). | x
C. | Crane set module units |  |  | x
D. | Remove hitches | x
E. | Remove axles and tires |  |  | x
F | Store hitches, axles and tires under building | x
G. | Install in-ground anchors or weld to foundation plates per drawings |  |  | x
H. | Adjust all doors - install ship loose items | x
I | Install lockers, marker/tack boards, other items | x
J. | Complete factory supplied suspended ceiling | x
K. | Complete gypsum ceiling at seam lines |  |  | x
L. | Complete scuppers or gutters & downspouts |  |  | x
M. | Site install floor covering with materials as specified | x
N. | Complete all exterior trim & skirting to match exterior. | x
O. | Install steps & ramps per drawings | x
P | Install canopies per drawings |  | x | x
All landscaping, parking lots, walkways, curbs, gutters, site restoration and
and all site improvements/enhancements are by Customer.
Section 6, Utilities, HVAC, Electrical
A. | Complete inner module plumbing/elec/ductwork connections | x
B. | Heat trace all exposed water lines in crawl space. | x
C. | Provide bottled water if required by state code & drinking fountains not specified. |  |  | x
D. | Provide O&M Manuals | x
All utilities, both supply and connect, are by Customer. All meters, hydrants,
tap fees, testing, chlorination of lines, balance of HVAC and system start ups
are by Customer. CATA, PA, TV, security, fire alarms are by Customer.
Section 7, Miscellaneous
A. | Provide dumpster on site. |  | x
B. | Provide temporary sanitary (portable restroom) on site. |  | x
C. | Remove debris from site & leave building broom clean. | x
D. | Final clean of building (includes wipe down all walls & cleaning windows). | x
E. | Strip, seal, & wax all vinyl composition floor tile. |  | x
Section 11, Dismantle
A. | Notify Satellite Shelters per contract or lease requirements of building removal. |  | x
B. | Remove furniture & furnishings & clean building. |  | x
C. | Disconnect all utilities & properly terminate. |  | x
D. | Remove steps & ramps. |  | x
E. | Dismantling & return freight. | x | X |  | Customer to pay/ Satellite to remove
F. | Site restoration.
Special Notes
CUSTOMER SIGN-OFF
Signature:

## Branch Info
Branch_Info | Address | City, State ZIP | Phone | Fax
Select a Branch
Atlanta Branch | 535A Seaboard Industrial Dr | Lawrenceville, GA 30045 | 770-963-7600 | 770-963-9950
Chicago Branch | 14835 New Avenue | Lockport, IL 60441-6227 | 815-588-5412 | 815-588-5424
Cincinnati Branch | 3085 E. Cresentville Road | West Chester, OH 45069-3870 | 800-666-6998 | 513-554-1650
Cleveland Branch | 15121 Industrial Pkwy | Cleveland, OH 44135-3305 | 800-879-1230 | 216-267-6805
Corporate Office | 2530 Xenium Lane North | Minneapolis, MN 55441 | 888-935-4453 | 763-551-7282
Dallas Branch | 955 East Highway 121 | Lewisville, TX 44142-1305 | 800-641-7958 | 972-420-7824
Denver Branch | 4455 East 74th Avenue | Commerce City, CO 80022-1419 | 888-565-7111 | 303-288-1155
Detroit Branch | 4844 Product Drive | Wixom, MI 48393-2049 | 800-677-9060 | 248-676-9644
Houston Branch | 18500 Van Road | Houston, TX 77049 | 281-456-0457 | 281-456-8925
Kansas City Branch | 3370 North Jackson Avenue | Kansas City, MO 64117-3127 | 800-753-1102 | 816-453-5122
Major Projects Sales - Andrew Laub | 11413 Carriage Drive | Yukon, OK 73099 | 405-722-3102
Major Projects Sales - Brandon Bryant | 137 Gillson Drive | McDonough, GA 30253 | 770-288-3434 | 770-288-3413
Major Projects Sales - John Hale | 10700 Longview Trail | Chagrin Falls, OH 42203 | 216-978-2312
Major Projects Sales - Kirby Cotter | 7309 Terrace Street | Kansas City, MO 64114 | 816-215-2064
Major Projects Sales - GW Huston | 167 Renaux Blvd. | St. Charles, IL 60175 | 815-955-1906 | 630-587-3422
Major Projects Sales - Randy Rebers | 2530 Xenium Lane North | Minneapolis, MN 55441 | 888-935-4453 | 763-551-7282
Major Projects Sales - Rock Meskauskas | 625 Bloor Lane | Zionsville, IN 46077 | 317-694-3720 | 317-733-1282
Medical Facilities Division | 15121 Industrial Pkwy | Cleveland, OH 44135-3305 | 216-978-2312 | 216-267-6805
Milwaukee Branch | 4810 South 13th Street | Milwaukee, WI 53221-2435 | 800-395-9190 | 414-281-3211
Minneapolis Branch | 20050 75th Avenue North | Hamel, MN 55340-9459 | 888-420-2003 | 763-420-2034
New Orleans Branch | 3700 US Highway 51 | LaPlace, LA 70068 | 985-651-4275 | 985-651-4615
San Antonio Branch | 7981 FM 482 | New Braunfels, TX 78132-4833 | 888-606-6880 | 830-606-2888
St. Louis Branch | 3408 E. Terra Lane | O'Fallon, MO 63366 | 800-933-5101 | 636-278-1948